## Form responses 1
# | Timestamp | Email address | Surveyor Name | Road Name (Main) | Road Name (Cross) | Area Name | Dist. (m) | Location (Google Maps link) | Road Sign | Use | Material | Width (m) | Road Condition | Side (N/E) | Attachment 1 Type | Attachment 1 Width (m) | Attachment 1 Dated | Attachment 1 Condition | Attachment 1 Notes | Attachment 2 Type | Attachment 2 Width (m) | Attachment 2 Dated | Attachment 2 Condition | Attachment 2 Notes | Side (S/W) | Attachment 1 Type (S/W) | Attachment 1 Width (m) (S/W) | Attachment 1 Dated (S/W) | Attachment 1 Condition (S/W) | Attachment 1 Notes (S/W) | Attachment 2 Type (S/W) | Attachment 2 Width (m) (S/W) | Attachment 2 Dated (S/W) | Attachment 2 Condition (S/W) | Attachment 2 Notes (S/W) | SWG Side (N/E) | SWG Type (N/E) | SWG Width (m) (N/E) | SWG Dated (N/E) | SWG Condition (N/E) | SWG Notes (N/E) | SWG Side (S/W) | SWG Width (m) (S/W) | SWG Dated (S/W) | SWG Condition (S/W) | SWG Notes (S/W) | UGD Existing | UGD Type | UGD Date | UGD Pipe Dia (m) | UGD Condition | Jalasiri Existing | Jalasiri Condition | Jalasiri Note | Light Type | Electrical Condition
1 | 2026-07-21 13:25 | nithufoxey47@gmail.com | Nithin Nayaka | Basha nagara 1st main | 3rd cross | Basha Nagara | 136 | https://maps.app.goo.gl/4QBvJauWBdX9yLiN6?g_st=ic | Damaged | Residential | Concrete | 3.5 | Maintenance | North | Planterbox (Curb) | 1.8 | 2024-07-21 | Maintenance | -- | [5 empty] | South | Planterbox (Curb) | 1.8 | 2024-07-21 | Maintenance | Need to maintain corrected | [5 empty] | North | No Gutter | 1 | 2024-07-21 | Maintenance | No proper finishing | South | 1 | 2023-07-21 | Maintenance | Need to be maintained | Yes | Concrete |  | 0.305 | Maintenance | Yes | Maintenance | No proper water supplies | LED- Pole | Good
2 | 2026-07-21 13:09 | nithufoxey47@gmail.com | Nithin Nayaka G | Basha nagara 1 main | 4th cross | Basha Nagara | 139 | https://maps.app.goo.gl/PQTPuxo3jCoVfc978?g_st=ic | Damaged | Residential | Concrete | 3.6 | Maintenance | North | Exposed Soil |  |  | Required | No foot path | [5 empty] | South | Exposed Soil |  |  | Required | -- | [5 empty] | North | FFL Gutter | 1 | 2022-07-21 | Maintenance | No maintenance is done | South | 1 | 2022-07-21 | Maintenance | Need to be maintained | Yes | Concrete | 2008-07-21 | 0.3 | Maintenance | Yes | Maintenance | No water proper supplying of water | LED- Pole | Good
3 | 2026-07-21 12:44 | nithufoxey47@gmail.com | Nithin Nayaka G | Basha nagara | 5th cross | Basha Nagara | 134 | https://maps.app.goo.gl/DscgEo1GG56gF3sZA?g_st=ic | Yes | Residential | Concrete | 6.5 | Good | North | Pavers | 1 | 2022-07-21 | Maintenance | Houses are constructed upon the pavement | [5 empty] | South | Pavers | 1 | 2022-07-21 | Maintenance | Need to be maintained | [5 empty] | North | No Gutter |  | na | na | na | South | na | na | na | na | Yes | PVC | 2025-07-21 | 0.25 | Pavers | Yes | Good | Water is not supplyed daily | LED- Pole | Maintenance
4 | 2026-07-21 12:13 | nithufoxey47@gmail.com | Nithin Nayaka G | Basha Nagara | 6th cross | Basha Nagara | 135 | https://maps.app.goo.gl/txv8n6znDN1J8NDD8?g_st=ic | No | Residential | Concrete | 4.5 | Good | North | Pavers | 1.5 | 2023-07-21 | Good | Some attachment need to be corrected | [5 empty] | South | Pavers | 2.2 | 2023-07-21 | Required | Some corrections need to be done | [5 empty] | North | FFL Gutter | 0.45 | 2023-07-21 | Maintenance | Some cleaning should be done | South | 0.45 | 2023-07-21 | Maintenance | Cleaning should be done correctly | Yes | PVC | 2024-07-21 | 0.25 | Pavers | Yes | Good | Good | LED- Pole | Good
5 | 2026-07-21 13:43 | nithufoxey47@gmail.com | Nithin Nayaka | 1st main | 1st cross | Basha Nagara | 135 | https://maps.app.goo.gl/aCDqWBqu3uPetZ5W7?g_st=ic | Damaged | Residential | Concrete | 3.6 | Maintenance | North | Pavers | 1.8 | 2023-07-21 | Maintenance | Need to be maintained | [5 empty] | South | Pavers | 0.8 | 2023-07-21 | Maintenance | Need to be maintained | [5 empty] | North | Elevated Gutter | 0.8 | 2024-07-21 | Maintenance | Need to be maintained | South | 0.8 | 2023-07-21 | Maintenance | Need to be maintained | Yes | PVC | 2023-07-21 | 0.254 | Maintenance | Yes | Maintenance | No proper water supply | LED- Pole | Good
6 | 2026-07-21 13:33 | nithufoxey47@gmail.com | Nithin Nayaka | 1st main | 2nd cross | Basha Nagara | 140 | https://maps.app.goo.gl/jyZ2FjsLhRTSxP388?g_st=ic | Damaged | Residential | Concrete | 3.5 | Maintenance | North | Pavers | 1.5 | 2025-07-21 | Maintenance | -- | [5 empty] | South | Exposed Soil |  |  |  | No pavement | [5 empty] | North | FFL Gutter | 0.8 | 2025-07-21 | Maintenance | Need to maintain | South | 0.8 | 2025-07-21 | Maintenance | Need to be maintained | Yes | Concrete | 2008-07-21 | 0.305 | Maintenance | Yes | Maintenance | No supply of water daily | Required | Required
7 | 2026-07-21 13:48 | nithufoxey47@gmail.com | Nithin Nayaka | 1st main | 1st a 2nd a 3rd a 4th a 5th a | Basha Nagara | 155 | https://maps.app.goo.gl/kUepsSJWP7on1Gvc7?g_st=ic | Damaged | Residential | Concrete | 4.5 | Maintenance | East | Exposed Soil |  |  | Additional Required | -- | [5 empty] | West | Exposed Soil |  |  | Required | -- | [5 empty] | East | No Gutter | 0 | na | na | na | West |  |  | Required |  | No |  |  |  |  | No |  |  | Required | Required
8 | 2026-07-22 12:54 |  | Nithin Nayaka | 1st main | 6th cross | Azad Nagara |  | https://maps.app.goo.gl/k5jpvJaFwWGzq8oy8?g_st=ic | Damaged | Residential | Concrete | 3.3 | Maintenance | East | Pavers | 1.5 | 2026-04-22 | Maintenance | Need to be maintained | [5 empty] | West | Pavers | 1.7 | 2026-04-22 | Maintenance | need to be maintained | [5 empty] | East | Elevated Gutter | 1.7 | 2026-04-22 | Maintenance | Need to be maintained | West | 1.7 | 2026-04-22 | Maintenance | Need to be maintained | No |  |  |  |  | Yes | Good | Good supply of water | LED- Pole | Good
9 | 2026-07-22 13:30 |  | Nithin Nayaka | 1st main | 7th cross | Azad Nagara | 230 | https://maps.app.goo.gl/ZQuDcz1aTbNHoeCU6?g_st=ic | Damaged | Residential | Concrete | 3.6 | Maintenance | East | Pavers | 0.8 | 2022-07-22 | Maintenance | Need to be maintained | [5 empty] | West | Pavers | 1 | 2021-07-22 | Maintenance | Need to be maintained | [5 empty] | East | Elevated Gutter | 0.8 | 2022-07-22 | Maintenance | Need to be repaired | West | 0.8 | 2022-07-22 | Maintenance | Need to be repaired | No |  |  |  | Required | Yes | Maintenance | No proper supply | LED- Pole | Good
10 | 2026-07-22 13:38 |  | Nithin Nayaka | 1st main | 8th cross | Azad Nagara | 240 | https://maps.google.com/?q=14.4792797,75.9225366&entry=gps&shh=CAE&lucs=,94297699,94231188,94280568,47071704,94218641,94282134,100813469,94286869,100820247&g_st=ic | Damaged | Residential | Concrete | 3.5 | Maintenance | East | Pavers | 0.5 | 2025-07-22 | Maintenance | Need to be repaired | [5 empty] | West | Pavers | 1.5 | 2025-07-22 | Maintenance | Need to be repaired | [5 empty] | East | FFL Gutter | 0.8 | 2024-07-22 | Maintenance | Need to be maintained | West | 0.8 | 2024-07-22 | Maintenance | Need to be maintained | No |  |  | Convaier |  | Yes | Good | Good supply | LED- Pole | Good
11 | 2026-07-22 13:45 |  | Nithin Nayaka | 1st main | 9th cross | Azad Nagara | 243 | https://maps.app.goo.gl/ot8bRZLPARWKJ5Hw8?g_st=ic | Damaged | Residential | Concrete | 3.5 | Maintenance | East | Pavers | 1.8 | 2026-07-22 | Maintenance | Need to be repaired | [5 empty] | West | Pavers | 1 | 2025-07-22 | Maintenance | Need to be repaired | [5 empty] | East | FFL Gutter | 0.8 | 2025-07-22 | Maintenance | Need to be repaired | West | 0.8 | 2025-07-22 | Maintenance | Need to be repaired | No |  |  | Convaior |  | Yes | Maintenance | Proper supply of water | LED- Pole | Good
12 | 2026-07-22 12:35 |  | Nithin Nayaka | 2'nd main | 1st cross | Basha Nagara | 135 | https://maps.app.goo.gl/23FoFog824qawuyu5?g_st=ic | No | Residential | Concrete | 4 | Maintenance | North | Pavers | 1.4 | 2023-07-22 | Maintenance | Need to repaired | [5 empty] | South | Pavers | 0.8 | 2023-07-22 | Maintenance | Need to be repaired | [5 empty] | North | FFL Gutter | 0.8 | 2023-07-22 | Maintenance | Need to be maintained | South | 0.8 | 2023-07-22 | Maintenance | Need to be maintained | Yes | Concrete | 2008-07-22 | 0.305 | Maintenance | Yes | Good | Good supply of water | LED- Pole | Good
13 | 2026-07-22 12:18 |  | Nithin Nayaka | 2'nd main | 2nd cross | Basha Nagara | 137 | https://maps.app.goo.gl/szgLkou5UUne1gV88?g_st=ic | Damaged | Residential | Concrete | 3.6 | Maintenance | North | Pavers | 1.9 | 2025-07-25 | Maintenance | Need to be repaired | [5 empty] | South | Divider (Planter) |  |  | Required | Footpath need to be done | [5 empty] | North | FFL Gutter | 0.8 | 2014-07-22 | Maintenance | Need to be repaired | South | 0.8 | 2014-07-22 | Maintenance | Need to be repaired | Yes | Concrete | 2025-07-22 | 0.254 | Maintenance | Yes | Good | Good supply of water | LED- Pole | Good
14 | 2026-07-22 12:04 |  | Nithin Nayaka | 2'nd main | 3rd cross | Basha Nagara | 140 | https://maps.app.goo.gl/8TupTNqQA3BM3LF6A?g_st=ic | Damaged | Residential | Concrete | 3.6 | Maintenance | North | Pavers | 2.2 | 2024-07-22 | Maintenance | Need to be repaired | [5 empty] | South | Pavers | 1.2 | 2024-07-22 | Maintenance | Need to be repaired | [5 empty] | North | Elevated Gutter | 0.8 | 2024-07-22 | Maintenance | Need to be maintained | South | 0.8 | 2024-07-22 | Maintenance | Need to be repaired | Yes | Concrete | 2008-07-22 | 0.305 | Maintenance | Yes | Good | Good supply of water | LED- Pole | Maintenance
15 | 2026-07-22 11:53 |  | Nithin Nayaka | 2'nd main | 4th cross | Basha Nagara | 142 | https://maps.app.goo.gl/YuVKRkVHGwPzUpaS9?g_st=ic | No | Residential | Concrete | 3.6 | Maintenance | North | Pavers | 1.5 | 2024-07-22 | Maintenance | Need to be repaired | [5 empty] | South | Pavers | 1 | 2024-07-22 | Maintenance | Need to be repaired | [5 empty] | North | FFL Gutter | 0.8 | 2024-07-22 | Maintenance | Need to be maintained | South | 0.8 | 2024-07-22 | Maintenance | Need to be maintained | Yes | Concrete | 2008-06-22 | 0.254 | Maintenance | Yes | Good | Good supply of water | LED- Pole | Good
16 | 2026-07-22 11:41 |  | Nithin Nayaka | 2'nd main | 5th cross | Basha Nagara | 145 | https://maps.app.goo.gl/KzcBz8CEqvUC4xcU8?g_st=ic | No | Residential | Concrete | 4 | Maintenance | North | Pavers | 1.4 | 2025-07-22 | Maintenance | Need to paired | [5 empty] | South | Pavers | 1.4 | 2025-07-22 | Maintenance | Need to be repaired | [5 empty] | North | Elevated Gutter | 0.8 | 2021-07-22 | Maintenance | Need to be repaired | South | 0.8 | 2021-07-22 | Maintenance | Need to be repaired | Yes |  |  |  |  | Yes | Good | Good supply of water | Solar | Good
17 | 2026-07-22 11:33 |  | Nithin Nayaka | 2'nd main | 6th cross | Basha Nagara | 143 | https://maps.app.goo.gl/q2Ahiwq4Vgs9ZpAfA?g_st=ic | Yes | Residential | Concrete | 5.1 | Good | North | Pavers | 0.9 | 2022-07-22 | Maintenance | Need to repaired | [5 empty] | South | Pavers | 0.9 | 2022-07-22 | Maintenance | Need to be maintained | [5 empty] | North | Elevated Gutter | 0.7 | 2021-07-22 | Maintenance | Need to be maintained | South | 0.7 | 2021-07-22 | Maintenance | Need to be maintained | Yes |  |  |  |  | Yes | Maintenance | No proper supply of water | Solar | Maintenance
18 | 2026-07-22 13:15 |  | Nithin Nayaka | Gundi hola | -- | Azad Nagara | 140 | https://maps.app.goo.gl/f5VBdcJkTQG5xjet6?g_st=ic | No | Residential | Concrete | 3.5 | Maintenance | North | Exposed Soil |  |  | Required | -- | [5 empty] | South | Exposed Soil |  |  | Required | -- | [5 empty] | North | No Gutter |  | na | na | na | South | 1.1 | 2023-07-22 | Maintenance | Need to be maintained | Yes | Concrete | 2020-07-22 | 0.305 | Maintenance | Yes | Maintenance | No proper water supply | Solar | Maintenance
19
20
21
22
23
2669

## Sheet1
ROAD SURVEY — DVG SOUTH CONSTITUENCY — WARD NO. 09
| I. |  |  |  | II. | III. | IV. | V.. ROAD ONLY | [26 empty] | VI. STORM WATER GUTTER | [9 empty] | VII. UNDERGROUND DRAINAGE |  |  |  |  | VIIII. JALASIRI |  |  | IX. ELECTRICAL
| Road Name | Volunteer | Main | Cross | Area Name | Dist. | Loc | ROAD |  |  |  |  | Attachement (N/E) | [10 empty] | Attachement (S/W) | [10 empty] | (N/E) |  |  |  |  | (S/W) |  |  |  |  | Existing | Type |  | Pipe Dia | Condition | Existing | Condition | Note | Light Type | Condition
# | [7 empty] | Road Sign | Use | Material | Width | Condition | Side | Attachment 1 | Width | Dated | Condition | Notes | Attachment 2 | Width | Dated | Condition | Notes | Side | Attachment 1 | length*Width | Dated | Condition | Notes | Attachment 2 | Width | Dated | Condition | Notes | Side | Width | Dated | Condition | Notes | Side | Width | Dated | Condition | Notes |  |  | Date
[6 empty] | m |  |  |  |  | m |  |  | x | m |  |  |  |  | m |  |  |  |  | x | m |  |  |  |  | m |  |  |  |  | m |  |  |  |  | m | [6 empty] | mm
| Narasaraja Road |  |  |  |  | 474 | Open in Google Maps | No | Comercial | Concrete |  |  | North | Pavement |  |  |  |  | Pavement (Elevated) | [25 empty] | YES
| Narasaraja Road |  |  |  |  | 259 | Open in Google Maps
| Narasaraja Road |  |  |  |  | 458 | Open in Google Maps
| Ring Road |  |  |  |  | 516 | Open in Google Maps
| Ring Road |  |  |  |  | 467 | Open in Google Maps
| Ring Road |  |  |  |  | 440 | Open in Google Maps
| Ring Road |  |  |  |  | 413 | Open in Google Maps
| Ring Road |  |  |  |  | 439 | Open in Google Maps
| Ring Road |  |  |  |  | 438 | Open in Google Maps
| Narasaraja Road |  |  |  |  | 315 | Open in Google Maps
| Narasaraja Road |  |  |  |  | 326 | Open in Google Maps
| Narasaraja Road |  |  |  |  | 326 | Open in Google Maps
| Narasaraja Road |  |  |  |  | 500 | Open in Google Maps
| Ring Road |  |  |  |  | 426 | Open in Google Maps